2022 Water Quality Report

Montmorenci – Couchton Water District, Inc.

System #0220008

We're pleased to provide you with this year's Water Quality Report. We want to keep you informed about the water and services we have delivered to you over the past year. Our goal is to provide to you a safe and dependable supply of drinking water. We are committed to ensuring the quality of your water. The source of our water is produced from three wells in the Tuscaloosa Aquifer.

A Source Water Assessment has been prepared for our system by SCDHEC. If you have any questions about this assessment or concerning your water utility, or if you do not have internet access, please contact Jeremy Randall at 803-648-9920. We want you, our neighbors and valued customers, to be informed about your water utility. Feel free to attend any of our regularly scheduled meetings on the fourth Monday of every month at seven o’clock at the district office.

This report shows our water quality and what it means. Montmorenci-Couchton Water District routinely monitors for constituents in your drinking water according to Federal and State laws. As water travels over the land or underground, it can pick up substances or contaminants such as microbes and chemicals.  All drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some constituents. It's important to remember that the presence of these constituents does not necessarily pose a health risk.

The table below shows the results of our monitoring for the period of January 1st to December 31st, 2022.   In this table you will find the following terms and abbreviations:

Action Level (AL) - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Maximum Contaminant Level - The "Maximum Allowed" (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.     MCL's are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Maximum Contaminant Level Goal - The "Goal"(MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) – The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

| TEST RESULTS |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Y/N | Level Detected | Unit Measurement | MCLG | MCL | Likely Source of Contamination |
| Nitrate (Sampled 2021) | N | 2.0 Range 0.95-1.70 | ppm | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Chlorine (2022) | N | 1.0 Range 0.21-1.07 | ppm | MRDL= 4 | MRDLG = 4 | Water additive used to control microbes |

| LEAD AND COPPER TEST RESULTS (2021) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant |  | Violation Y/N |  |  | 90th percentile |  |  |  | Unit Measurement |  | Action Level |  |  | Sites over action level | Likely Source of Contamination |  |
| Lead |  | N |  |  | 1.0 |  |  |  | ppb |  | 15 |  |  | 0 | Corrosion of household plumbing systems; erosion of natural deposits; |  |
| Copper |  | N |  |  | 0.17 |  |  |  | ppm |  | 1.3 |  |  | 0 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |  |
| Volatile Organic Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1,1 – Dichloroethylene (2022) |  |  | N |  |  | 1.0 Range 0.66-1.07 |  | ppb |  | 7 |  |  | 7 |  |  | Discharge from industrial chemical factories |
| 1,1 – Dichloroethane (2022) |  |  | N |  |  | 0.79 Range 0.51-0.79 |  | ppb |  | 0 |  |  | 5 |  |  | Discharge from industrial chemical factories |
| Radionuclide Results |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Radioactive Contaminants (2022) | Violation Y/N |  |  |  |  |  | Level Detected | Unit Measurement |  | MCLG |  |  | MCL |  |  | Likely Source of Contamination |
| Combined Radium 226/228 (2022) |  |  | N |  |  | 1.267 Range 1.267-1.267 |  | pCi/1 |  | 0 |  |  | 5 |  |  | Erosion of natural deposits |
| Unregulated Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME |  |  |  | REPORTED LEVEL ppm |  |  |  |  |  |  |  | RANGE Low - High |  |  |  |  |
| Sodium 2021 |  |  |  | 1.8 |  |  |  |  |  |  |  | 1.8-1.8 |  |  |  |  |